Local Government Name

REQUEST FOR PROPOSALS

for Solar for Public Buildings Grant

Date of Issue:	date

Proposal Due Date:	date

- Contents

II.	OBJECTIVE	2

III.	OVERVIEW	2

IV.	RFP SCHEDULE	2

V.	SITE INFORMATION	3

VI.	EXAMINATION OF SITE BEFORE SUBMITTING PROPOSAL	3

VII.	PROVIDER QUALIFICATIONS	4

VIII.	PERSONNEL QUALIFICATIONS AND ABILITIES	4

IX.	PROJECT SCOPE AND STANDARDS	4

X.	CONTENT OF PROPOSAL	5

XI.	TECHNICAL SPECIFICATIONS	7

XII.	OPERATIONS AND MAINTENANCE	8

XIII.	PROJECT SCHEDULE	8

XIV.	FINANCIAL STATEMENTS	8

XV.	SELECTION COMMITTEE	8

XVI.	[CITY/COUNTY/SCHOOL] RESPONSIBILITY	8

XVII.	PROVIDER(S) SELECTION CRITERIA	9

XVIII.	RIGHT TO REJECT PROPOSALS	9

XIX.	RFP EXHIBITS	10

REQUEST FOR PROPOSALS

# OBJECTIVE

Local Government Name is soliciting competitive sealed proposals from qualified contractors to design, build, and maintain a solar installation on local government property and provide power to local government facilities. The district has been approved to submit a full grant application for the Minnesota Solar for Public Buildings Grant Program.

Responses shall be submitted no later than INSERT DATE.  Late responses will not be considered.

# OVERVIEW

Local government Name is seeking proposals from interested firms capable of designing, engineering, installing, and maintaining a solar PV ground-mounted array.

In the long term, the local government may be interested in developing solar energy for other sites, and the results of this RFP may be used for future projects, however, for purposes of this RFP, respondents should limit their responses to only this site.

The local government believes on-site PV power generation will provide a long-term financial benefit by reducing energy costs through the reduction of peak demand loads and daily energy consumption at the sites. Through on-site PV solar generation, the Local Government hopes to:

• Reap the financial benefits of more affordable electricity at minimal cost.

• Reduce environmental impact.

• Provide an example of successful renewable energy generation and showcase our organization as a leader in the development of renewable energy sources.

Through this RFP process, the local government intends to select only one provider for the solar project and is looking for the “best value” proposal based on the selection criteria stated within this RFP.

# RFP SCHEDULE

The following schedule and deadlines apply to this solicitation:

Pre-Bid Conference – Available in person or via Zoom

Date here

Location: 	Anytown City Hall

1515 Main Street

Anytown, MN

Zoom Link: -put the right zoom link here -

Submit RFP questions to:

City Administrator Jane Jones

(612)-283-2571 ext. 1112
jane.jones@anytown.org

Request for Proposals Due INSERT DATE. Send proposals to:

City Administrator Jane Jones
jane.jones@anytown.org

Email Subject Line: “Solar for Public Buildings RFP”

or mail to:

Anytown City Hall

C/O Solar for Public Buildings RFP - Attn City Administrator Jane Jones

1515 Main Street

Anytown, MN

# SITE INFORMATION

Over the past two years, Insert Location e.g. Anytown City Hall has averaged INSERT NUMBER e.g. 51,151 kilowatt-hours (kWh) per month.

Additional example information:

Anytown has identified the field west of the community center and south of the baseball field as a good location for a ground-mounted array.

or…Anytown has identified the northwest corner of the community center roof as an ideal location for a solar array. The roof is made out of EPDM and was replaced in 2023.

If the provider, in consultation with the local government, determines that a roof-mounted array is the best option, the provider will be responsible for ensuring that roof warranties remain in place and avoid damage to existing roofs.

# EXAMINATION OF SITE BEFORE SUBMITTING PROPOSAL

Each provider must inform themselves fully of the conditions relating to the project and the employment of labor thereon. Failure to do so will not relieve a successful bidder of the obligation to carry out the provisions of the contract.

The provider will design, install, and maintain a solar photovoltaic system to maximize the solar resources considering the facilities’ electrical demand and load patterns, proposed installation site, available solar resources, applicable zoning ordinances, installation costs, and other relevant factors, which shall be discussed in the provider’s proposal. The provider should make every effort to visit the site and determine the best course of action. The ability to tour the site will be part of the pre-bid conference.

# PROVIDER QUALIFICATIONS

To qualify as the provider for the award of this agreement, the provider must either individually or collectively demonstrate extensive training, relevant expertise, and a thorough knowledge of the professional services, functions, activities, and related responsibilities to successfully perform their role in this solar photovoltaic installation.

# PERSONNEL QUALIFICATIONS AND ABILITIES

Specialized experience is required of the proposed project personnel to undertake the work assignments. Proposals must demonstrate the capability, academic background, training, certifications, and experience of the proposed personnel. The availability of the proposed staff is also of crucial importance and must be demonstrated. The specific responsibility of staff to be assigned to the project must be included, as well as the professional background and caliber of previous experience of key persons and consultants to be assigned to the project. If sub-consultants are employed, similar information must be provided and the portions to be sub-consulted must be identified. (There is no penalty for the use of sub-consultants; the qualifications of the entire team will be evaluated).

Provider(s) shall possess:

- Valid and pertinent State of Minnesota contractor construction licenses.

- Minnesota Professional Engineering (PE) registration for photovoltaic/electrical, structural, civil, and fire protection work.

- North American Board of Certified Energy Practitioners (NABCEP) certification.

# PROJECT SCOPE AND STANDARDS

The provider will design, provide, install, and maintain the solar photovoltaic systems. The scope of this project is all-inclusive and includes planning, engineering, labor, materials, delivery, installation, and commissioning, as well as all warranties and maintenance. This includes all structural and utility modifications that are required. The provider shall include in its proposal all elements necessary for a turn-key project including rebate applications, grid connection agreement, all permits and approvals from governing agencies, and all labor, taxes, services, and equipment. The provider shall apply for and obtain all necessary required approvals and permits. All fees required shall be the responsibility of the applicant.

The provider shall decide on the best location for metering and the number of meters required. If a roof-mounted array is deemed the best option as opposed to the proposed ground-mounted array, all proposed roof-mounted solar panels, tracks, and anchoring equipment shall not exceed ten pounds per square foot. The provider shall verify the structural capacity of the roof.

The provider shall submit the Solar for Public Buildings full grant application to the State of Minnesota and abide by grant requirements.

Ownership of Solar Renewable Energy Credits (RECS) or Certificates should be assumed to be owned by the local government unless otherwise specified by the provider as part of the proposal.

The provider is responsible for all connections and agreements with the utility.

All equipment shall be UL listed. All installations shall comply with current local government-approved building and electrical codes. The guaranteed minimum output from the system shall be 85% of the expected performance output from the system.

# CONTENT OF PROPOSAL

To maintain uniformity with all proposals furnished by the provider, proposals shall include the following:

- Overview of Principal Elements. A project understanding summary that includes an overview of the principal elements of the proposal, a demonstration of an understanding of the project objectives, and a description of your approach to solar systems. Include any suggestions or special concerns that the local government should be made aware of, the proposed configuration of equipment, and any additional scope of work tasks you feel are necessary for the successful completion of the project. Include a discussion of work assignments between the provider and subcontractors used, if any.

- Schematic Design Layout. Provider shall provide a system schematic design layout for the systems, including photovoltaic model type and model no., wattage, number of modules, year 1 production, degradation percentage, inverter type and model, mounting system type, azimuth, tilt, system size AC and DC, and the impact on the utility rates and demand charges.

- Cost. The local government is eligible to receive a Solar for Public Buildings grant of 50% of the cost of the project not to exceed $60,000. Additionally, the local government intends to apply for elective pay from the federal government. The provider shall incorporate the grant and federal incentives into the proposal. Provider shall identify costs to the local government and anticipated savings over 30 years.

- Minimum Qualifications. Sufficient information to evaluate the provider’s ability to complete the scope of work and to meet the following minimum qualifications:

- Appropriate business and contracting licenses in good standing

- Appropriate other licensing in good standing

- A list of personnel who will work on the project, including resumes of proposed project team members that delineate education, current licenses and certificates, prior employment, and titles.

- Project Team Structure: An organizational chart describing the roles and responsibilities of each person.

- References. A list of similar projects that your firm completed within the last 5 years. To be considered, respondents are required to have designed, installed, operated, maintained, and completed a minimum of five (5) solar PV projects in the United States that are commercial grid-connected solar PV systems. One (1) of the referenced projects must be with a local government, school, state, or tribal government.

Project information should include project description, agency or client name along with the person to contact, telephone number(s) and e-mail addresses, year completed, and project construction and design cost.

- Proposal submittal and signature. The proposal shall be signed by a company official with the power to bind the company in its proposal. All proposals must be completely responsive to the RFP.

- Warranties/Guarantees. The Respondent shall provide the following minimum warranties/guarantees:

• 10-year inverter warranty.

• 20-year PV panel warranty, with a maximum of 20% degradation.

# TECHNICAL SPECIFICATIONS

The following technical information should be discussed in this section.

- Major equipment manufacturers

- Description of technology and configuration

- Solar system layout of equipment and characteristics

- Electrical interconnection and metering/net-metering

- Foundation of PV support system

- Level of efficiency

- DC and AC capacity rating

- Expected annual energy production in kWh

- Communications, control and instrumentation

- Facility limitations that may constrain operation

- Project Management plan

- Start-up and testing

- Design life loading (wind, seismic, etc.)

- Description of frequency and duration of scheduled maintenance

- Provide any information that could impact the cost, construction schedule or output capability of the project.

- Proposals shall demonstrate a proven, comprehensive data acquisition system with current and historical data available remotely through a real-time internet site capable of tracking, but not be limited, to the following:

  - Site-specific actual kWh production (average and cumulative totals)

  - Site-specific instantaneous maximum kWh production

- Proposals shall provide evidence that the proposed technology and equipment would meet or exceed all currently applicable and proposed safety and interconnection standards. All equipment components must be listed or recognized by an appropriate safety laboratory (e.g., Underwriter’s Laboratory [UL]), and meet existing facility structural and fire safety requirements.

- Proposals shall provide evidence that the proposed technology and equipment would meet or exceed all currently applicable and proposed environmental standards.

- Proposals shall provide evidence that the proposed technology and equipment are designed for normal operation in the Minnesota climate.

- Proposals shall provide evidence that the proposed technology does not incorporate proprietary components and that the system design allows for multiple sources of supply and/or repair.

- Proposals shall describe reusability or recyclability of proposed technology and equipment.

# OPERATIONS AND MAINTENANCE

Describe the basic philosophy for performing O&M and include a discussion of contracting for outside services, if applicable. The successful respondent shall provide copies of the complete O&M manuals for all components of the system upon system commissioning.

The O&M plan shall include recycling for any solar module or inverter that needs to be replaced for any reason over the life of the system.  At the time of any project-level work order execution, the Contractor shall use solar PV system components that are readily reusable or recyclable. The provider shall track solar system equipment that ceases to function as intended and report on an annual basis the recycling of any modules or inverters to the Minnesota Pollution Control Agency.

# PROJECT SCHEDULE

All proposals must include a project schedule that includes the following milestones:

- Permitting begins

- Final design plans complete.

- Equipment ordered.

- Construction begins.

- Electrical generation begins.

# FINANCIAL STATEMENTS

Please submit a detailed financial report prepared per generally accepted accounting principles (GAAP) reflecting the current (as of the most recent financial statement date) financial condition of the provider. Such a report must include a balance sheet, income statement, and statement of cash flows, along with applicable footnotes, dated concurrently for at least each of the preceding three years ending on the most recent fiscal quarter such statements were prepared. Public entities or subsidiaries should attach SEC Form 10-K along with, as applicable, detailed unaudited statements for the provider. Non-public entities may attach either unaudited financial statements or copies of tax forms and schedules that are filed with the Internal Revenue Service where applicable.

# SELECTION COMMITTEE

The local government has established a Selection Committee to evaluate provider proposals. The evaluation of each proposal will be based on technical criteria and qualifications, reference checks, and other information that will be gathered independently.

# LOCAL GOVERNMENT RESPONSIBILITY

The local government will be responsible for the following:

- Providing all available existing relevant plans and records.

- Coordinating access to the site for review before the bid due date.

# PROVIDER SELECTION CRITERIA

The local government, based on the requirements of this RFP has designated the following items as selection criteria for the successful provider. Each item will be individually and separately scored by Selection Committee members.

- Proposal Completeness (10 points): The measure for which the provider has provided all the requested information in a clear non ambiguous way as requested in this RFP.

- Cost/Best Value: (35 points): Cost information provided by the provider detailing the cost to the owner and potential savings over a 30-year period.

- Targeted Group (5 points): Utilize certified Women, Minority, Disabled, or veteran-owned businesses to supply materials or services.

- Financial Strength and Stability (10 points): Provide information indicating the provider's financial strength in terms of capital and liquid assets sufficient to complete the project listed in this RFP; and the stability of the provider in terms of length of service, professional capabilities, construction experience and capabilities over time.

- Photovoltaic engineering, project, and construction experience, including a minimum of five successful photovoltaic projects within the scope of this RFP (20 points).

- Project engineering analysis (10 points). Information provided by the provider detailing the estimated KWh generated by the proposed photovoltaic systems in this RFP; including all necessary assumptions for example sunlight availability, dark time, maintenance downtime, MTBF (mean time between failures), efficiency of the systems proposed, efficiency losses, net metering, etc.

- Photovoltaic performance monitoring (5 points). The provider's capabilities of monitoring photovoltaic generating systems, for example, how many systems does the provider monitor in centralized stations, etc.

- Provider customer service, and maintenance capabilities (5 points). The ability of the provider to respond quickly, efficiently, and cost-effectively to service calls so the photovoltaic systems are operating at optimum output.

# RIGHT TO REJECT PROPOSALS

Bid proposals shall remain valid for 60 days after the opening of the proposals.

The local government reserves the right to reject any or all proposals.

All costs incurred in the preparation of the proposal, the submission of additional information, and/or any aspect of a proposal before the award of a written contract will be borne by the provider.

The local government will provide only the staff assistance and documentation specifically referred to herein and will not be responsible for any other cost or obligation of any kind that may be incurred by the respondent. All proposals submitted become the property of the local government.

# RFP EXHIBITS

ATTACHMENT A: 	MN Solar Suitability App report

ATTACHMENT B:	PVWatts Report

ATTACHMENT C:	24 Months of Utility Bills

ATTACHMENT D:       Map of Proposed Location